CELLINE® METAL PLANK ACOUSTICAL SECURITY CEILING SYSTEM

SECTION 09 57 53

PART 1 – GENERAL

1.01	SECTION INCLUDES:

- This specification covers the material, installation, and related requirements for the Metal Plank Ceiling System – including all necessary Acoustical Insulation, Suspension Systems, and Fasteners.

1.02	RELATED DOCUMENTS/SECTIONS:

- Drawings and general provisions of Contract, including General and Supplementary Conditions.

- Division 1 Specification sections apply to work of this Section.

- Finish Schedule or Finish Legend apply to work of this Section.

1.03	REFERENCES:

- GENERAL

  - Comply with applicable requirements of the following, except where more stringent requirements are indicated by building codes.

- ASTM (American Society for Testing and Materials)

  - ASTM C636, Recommended Practice for Installation of Metal Suspension System for Acoustical Tile and Lay-In Panels.

- CISCA Ceiling Systems Installation Handbook.

1.04	DESIGN/PERFORMANCE REQUIREMENTS:

- All components of the CelLine® Metal Plank Acoustical Security Ceiling System shall be provided by one (1) Manufacturer to ensure single source responsibility and quality control.

1.05	SUBMITTALS:

- Submission must be made within ten (10) working days of the General Contract Award to avoid project delay.

  - After award of contract, standard Shop Drawings shall be submitted and approved prior to fabrication of the Metal Planks or their structural supports.

- Product Data:   Submit Manufacturer’s:

  - Product data

  - Installation Instructions

- Shop Drawings:  Submit Shop Drawings for fabrication and installation of CelLine® Metal Plank Acoustical Security Ceiling System.

- Samples:

  - A 1’ x 1’ assembled sample of each Ceiling Panel and its Suspension System shall be submitted for approval.

- Closeout Submittals

  - Provide Manufacturer’s Cleaning and Maintenance Instructions

  - Warranty Documents

  - Manufacturer’s certification of compliance with the acoustical performance required as described in this specification.

1.06	QUALITY ASSURANCE:

- Manufacturers’ Qualifications:  Firm with manufacturing and delivery capacity required for the project, shall have successfully completed at least ten (10) projects within the past five (5) years, utilizing systems, materials, and techniques as herein specified.

- Fabricator must own and operate its own manufacturing facilities for all metal components. Systems consisting of components from a variety of Manufacturers will not be considered or accepted.

- Manufacturer/Fabricator must own and operate its own painting and finishing facility to assure single source responsibility and quality control.

- Installer’s Qualifications:  Firm with not less than three (3) years of successful experience in the installation of systems similar to those required by this project and acceptable to the Manufacturer of the System.

1.07	PRODUCT DELIVERY, STORAGE AND HANDLING:

- Deliver Panels and all System Hardware to the job site in Manufacturer’s original packaging, unopened and undamaged, just prior to installation.

- Avoid warpage and damage by storing Panels and all System Hardware above floor, flat and in a dry, humidity and temperature controlled interior location.

- Follow Manufacturer’s instructions and exercise care during off loading, handling and installation to avoid damage and marring of finishes.

1.08	SEQUENCING:

- Substitute Products: Alternate proposals for substitute products will not be accepted unless approval is issued in addenda.

- Contract Execution: Submittals shall be completed and approved prior to award of subcontract for system components.

- Manufacturer’s Production Schedule: Sub-contract for the work of this section shall be planned to allow sufficient time for Manufacturer’s production and delivery scheduling.

1.09	WARRANTY:

- Furnish Manufacturer's:

  - Warranty that materials furnished will perform as specified for a period of not less than one (1) year from date of material shipment when installed in accordance with Manufacturer’s recommendations.

PART 2 - PRODUCTS

2.01	MANUFACTURERS:

- Acceptable System: CelLine® Metal Plank Acoustical Security Ceiling System shall be manufactured by Gordon, Inc. For all inquiries contact, Gordon, Inc., 5023 Hazel Jones Road, Bossier City, LA 71111, (800) 747-8954.

- The listed Manufacturer shall not be construed as closing specifications to other prospective Manufacturers, but rather as establishing a level of quality in a metal system. Other systems may be submitted for approval, as provided for in the specifications at least ten (10) working days prior to submission of bids. Companies desiring to submit a proposal shall submit all descriptive information of the system proposed including photographs and Shop Drawings of at least three (3) projects similar in detail and scope.

2.02	 PRODUCT CONSTRUCTION:

- Product Components:

  - Metal Plank Ceilings: The Metal Plank System is to be fabricated and installed in accordance with the Manufacturer’s approved Shop Drawings. Metal Planks shall be factory formed from (12) (14) (16) (18) Gauge perforated (non-perforated) galvannealed (minimum A60) steel as indicated on the Shop Drawings. Planks shall be formed (12’’) (18’’) (24’’) wide in lengths of up to 12’-0’’ as shown on Reflected Ceiling Plans. Vertical legs of Metal Planks are to be factory formed so that Panels overlap tightly to provide positive self-alignment with adjacent Panels.

  - Metal Plank Suspension: Perimeter Angles and Main Tee Runners shall be factory fabricated from (12) (14) (16) Gauge factory finished galvannealed (minimum A60) steel. Angles and Tees shall be factory pre-punched to receive Fasteners. Angles shall be fastened to all abutting vertical surfaces through the use of drilled in anchors or other approved Fasteners at a minimum of 16’’ O.C. Tee sections shall be suspended by 14 Gauge 1-1/2’’ x 1-1/2’’ galvanized slotted Angles bolted to Main Tees at minimum of 5’-0’’ O.C., hung from structural members or drilled in anchors of appropriate type and dimension as approved by the Architect. Panels shall be securely fastened to all Angles and Tee sections with (steel rivets) (Torx® security fasteners) of appropriate dimension (painted to match Panels) minimum 6’’ O.C. [or through the use of concealed Hold Down Angle mechanically fastened to abutting vertical surfaces].

        - Acoustical Material: The inside surface of all perforated Ceiling Panels shall be covered with Class A fiberglass Insulation wrapped in black Fire-Retardant Poly. Insulation shall be of sufficient thickness and density to provide the acoustical requirements as outlined herein.

        - Lights and Air: All light and air units are to be system compatible and sized so as to fit into and trim off full module opening in Ceiling System and shall be independently supported from above by installing trade.

        - Access Doors: All security Access Doors to be installed in the Metal Security Ceiling System shall be supplied by the Metal Security Ceiling System Manufacturer in quantities indicated on the Architectural Drawings or as approved by the Architect. Access Doors shall have the following characteristics:

          - Size: 24’’ x 24’’, which fits an opening of 23-3/4’’ x 23-3/4’’

          - Door: 16 Gauge steel

          - Frame: 16 Gauge steel

          - Hinge: Full-length semi-concealed piano hinge that opens 180 degrees

          - Anchors: Heavy steel, welded to frame

          - Lock: Theft-proof, security bolt, with key

          - Finish: Factory white polyester powder coated paint finish

        - Fasteners: All exposed Fasteners shall be tamper-proof and shall be a minimum No. 12 size. Fasteners for securing the Wall Molding to the wall are to be selected and furnished by the Contractor and approved by the Architect/Engineer.

- Product Performance:

  - Accessibility: Suspended Metal Plank Ceiling Systems shall be designed and installed to resist access to the plenum area. System compatible hinged locking downward accessible Doors are to be provided in locations indicated on architectural Reflected Ceiling Plans. Access Doors are to be sized so as to fit into and trim off full module opening in Ceiling System.

  - Acoustical Requirements: The perforated Ceiling Systems shall provide a Noise Reduction Coefficient (NRC) of no less than 0.80 when tested in accordance with ASTM C423-84a in an E-400 mounting as defined in ASTM E795-83.

2.03	FINISHES:

- Metal Planks and Related Suspension:

  - The Metal Planks shall have a factory-applied white super-durable polyester powder coating finish. Finish to be applied after perforation (if applicable) to ensure coating of perforated holes. Panels shall be coated to a minimum thickness of 2.0 mils on the finish side.

  - Prior to painting, galvannealed steel surfaces shall be cleaned, rinsed, and properly treated to receive the powder coating finish.

  - Finish to achieve the following performance characteristics:

        - Salt Spray per ASTM B-117 – 1,000 hours PASS at less than 1/8’’ from score.

        - Humidity Resistance per ASTM D-2247 – 1,000 hours PASS at less than 1/8’’ from score.

2.04	FABRICATION:

- The Ceiling Contractor shall verify all dimensions, elevations, and job site conditions before fabrication commences.

PART 3 - EXECUTION

3.01	EXAMINATION:

- Examination of Surfaces: Installer must examine conditions under which work is to be performed and must notify Contractor in writing of unsatisfactory conditions.

- Verify that field measurements and block-out dimensions are as shown on Shop Drawings.

3.02	PREPARATION:

- Clean surfaces thoroughly prior to installation.

- Prepare surfaces using the methods recommended by the Manufacturer to achieving the best result for the project conditions.

3.03	INSTALLATION:

- General: Comply with Manufacturer’s printed instructions, governing regulations for Seismic Codes, Local Building Codes, and the Ceiling & Interior Systems Construction Association Standards applicable to work.

- The CelLine® Metal Security Ceiling System shall be installed in accordance with ASTM C636 and CISCA guidelines, in layouts as reflected on the approved Shop Drawings, all in compliance with the Manufacturer’s Installation Instructions.

  - The Suspension System and Wall Moldings shall be installed plumb and level.

  - Start installation of Metal Plank at location as shown on Reflected Ceiling Plans. Slide Metal Plank along Perimeter Angle to create a ship lapped joint between adjoining Panels. Ensure self-aligning legs overlap each other. Side stitch Panels together along ship lapped Panel joints with self-tapping fasteners per approved Shop Drawings or at a minimum of 24’’ O.C.

  - In order to achieve secure and tightly engaged Panel joint details, Panels must be installed progressively from the start Panel through the closure Panel. Except for the openings for light, air, fire protection, or access shown on the Reflected Ceiling Plans, all openings or cut outs required in the Ceiling Planks shall be field cut by the trades requiring the openings.

3.04	CLEANING:

- Follow Manufacturer’s cleaning instructions for specified finish.

3.05	PROTECTION:

- Procedures: Care should be taken during the remainder of construction to protect the CelLine® Metal Security Ceiling System from damage.

- Damage to Finished Work: Finished units of the CelLine® Metal Security Ceiling System shall be without damage. Damage shall be repaired by the Contractor at the expense of the party damaging the material, as in accordance with the contract requirements.

END OF SECTION

Torx® is a registered trademark of Camcar